## DIW V vs A
Voltage | V Across 10Ohm Resistor (mV) | Current (uA) | ratio
1 | 0.038 | 3.8 | 26.3158 | Sample | DIW
2 | 0.081 | 8.1 | 24.6914 | Varying voltage and measure the current drawn
3 | 0.122 | 12.2 | 24.5902 | The current is measured with a 10 ohm shut resistor connected in series
4 | 0.162 | 16.2 | 24.6914
5 | 0.208 | 20.8 | 24.0385 | The relationship is quite linear
6 | 0.249 | 24.9 | 24.0964 | The voltage drop over time - so the measurement is done 'as quickly as possible'
7 | 0.292 | 29.2 | 23.9726 | For one value to the next is about 30 seconds
8 | 0.331 | 33.1 | 24.1692
9 | 0.368 | 36.8 | 24.4565
10 | 0.407 | 40.7 | 24.57
12 | 0.494 | 49.4 | 24.2915
14 | 0.584 | 58.4 | 23.9726
16 | 0.677 | 67.7 | 23.6337
18 | 0.766 | 76.6 | 23.4987
20 | 0.853 | 85.3 | 23.4467
22 | 0.93 | 93 | 23.6559
24 | 1.013 | 101.3 | 23.692
26 | 1.098 | 109.8 | 23.6794
28 | 1.182 | 118.2 | 23.6887
30 | 1.273 | 127.3 | 23.5664
32 | 1.363 | 136.3 | 23.4776

## Sheet2
Voltage in meter display | Measured
1 | 1.047 | -4.7%
2 | 2.048 | -2.4%
3 | 3.01 | -0.3333%
4 | 3.988 | 0.3%
5 | 4.992 | 0.16%
6 | 5.987 | 0.2167%
7 | 6.993 | 0.1%
8 | 7.961 | 0.4875%
9 | 8.912 | 0.9778%
10 | 9.927 | 0.73%
12 | 11.9 | 0.8333%
14 | 13.887 | 0.8071%
16 | 15.838 | 1.013%
18 | 17.707 | 1.628%
20 | 19.74 | 1.3%
22 | 21.751 | 1.132%
24 | 23.715 | 1.188%
26 | 25.711 | 1.112%
28 | 27.669 | 1.182%
30 | 29.615 | 1.283%
32 | 31.587 | 1.291%